## Slide 1: Technical Challenge Algorithm Development, ResMed Sensor Technologies
Aoibhe Turner-Heaney

## Slide 2: Proposed breath rate detection algorithm
Original Signals
Moving-average filter
(~63 seconds)
Low-pass filter
Breath peaks identified
Breath rate calculation
Breath rate (/min)

## Slide 3: Limitations of approach
Notes: Pros or cons of the design; alternate approaches that could be taken
Sample results – respiration trace or other analyses

## Slide 4: Alternative approaches
Two bandstop filter
(0.01-0.2Hz), (0.4-2.4Hz)
A bandpass filter (0.1-0.4Hz)
Normalised cross-correlation
+
Filter
Notes: Challenges encountered and solution(s) identified

## Slide 5: Thank you for listening
Any questions?